Chiroptical Spectroscopy of Turbid Media

A. A. Kokhanovsky

Institute of Physics

70 Skarina Avenue, Minsk 220072, Belarus

Fax: 375-172-840879, E-mail: alex@zege.bas-net.by

Abstract

The influence of the size of particles on the circular dichroism (CD) and optical rotatory dispersion (ORD) spectra of turbid layers with spherical globules of chiral substances is studied. Simple equations for the values of CD and ORD of dispersed slabs with optically soft large spheres are obtained and analyzed. Equations derived can be used for the solution of the inverse problem, namely for deriving intrinsic spectra of substances inside small particles from measurements of spectra for turbid layers.

- Introduction

Circular dichroism (CD) and optical rotatory dispersion (ORD) spectra are fingerprints of molecular asymmetries of chiral substances [1,2]. They have already been studied both for homogeneous [2] and particulate [3-8] media. It was found, in particular, that both ORD and CD spectra of turbid layers with Rayleigh-Gans particles coincide with correspondent spectra of chiral molecules in solutions. This is not the case for Rayleigh particles, where a multiplier m2+23 (m=mL+mR2), mL=nL+iχL and mR=nR+iχR are the relative refractive indices for left-handed and right-handed circularly polarized beams) should be used to relate the intrinsic spectra of substances to the spectra measured for  turbid layers.

One should expect even more profound distortion of spectra in the case of large (x>>1,  x=ka,  k=2πλ,  a is the  radius  of particles,  λ is the wavelength of the incident wave)chiral particles. The task of this paper is to relate intrinsic CD and ORD spectra of substances inside large particles to spectra measured for dispersed layers. It is assumed that the refractive index of a host medium is close to the refractive index of particles, which is usually the case for bio-liquids. It should be pointed out that the refractive index of a surrounding medium could be always adjusted to satisfy the criteria of the optical softness: m−1<<1.

- Large Optically Soft Chiral Spheres

For the sake of simplicity we will consider turbid layers with spherical optically active particles. Also we combine ORD ϕ(λ) and CD θ(λ) spectra in one complex function:

Ψ(λ)=ϕ(λ)+iθ(λ).	(1)

This function can be found with the following equation in the case of turbid layers with chiral spheres [3,4]:

Ψ(λ)=2πNk20∞S(λ,a)f(a)da,	(2)

where N is the number concentration of particles, f(a) is the particle size distribution and

Sλ,a=l=1∞2l+1cl.	(3)

Amplitude coefficients cl are complex functions of the refractive index and size of particles [3,4]. These coefficients rapidly decrease at l>M, where M≈x. Functions S(λ,a) depend on the intrinsic ORD ϕ0(λ) and CD θ0(λ) spectra of chiral substances bounded in small particles. Thus, Eqs. (1)-(3) can be used for the derivation of intrinsic spectra ϕ0(λ) and θ0(λ) from measurements of the complex function Ψ(λ), provided that the information on the particle size distribution and  concentration of particles N is available.

The solution of the inverse problem is simplified for optically soft (m−1<<1) large (x>>1) particles, where simple expressions for the amplitude function S(λ,a) can be obtained. Let us show it.

It follows for the amplitude coefficients of large soft spherical particles in the framework of the van de Hulst approximation [4]:

cl=12xsinτΔmexp(iρsinτ),	(4)

where

ρ=2x(m−1),τ=arccosl+12x,Δm=mL−mR.

The value of ρ is called the phase shift. Eq. (4) allows to evaluate series (3) for the amplitude function S(λ,a) analytically. Namely, replacing the sum in Eq. (3) by integral [4]: l=1∞→0xdl, where l+12=xcosτ  and dl=−xsinτdτ, one obtains:

S(λ,a)=x3Δm01σ2exp(iρσ)dσ

or

S(λ,a)=x3Δm3Η(ρ),	(5)

where the complex  function H(ρ)=v(ρ)+iw(ρ) has the following simple form:

Η(ρ)=−6i(1−eiρ)ρ3+6eiρρ2−3ieiρρ.	(6)

The expansion of the function H(ρ) as ρ→0 for monodispersed spheres is given by:

H(ρ)=1−310ρ2+156ρ4+i34ρ−112ρ3+1320ρ5+ο(ρ6).	(7)

It follows from Eqs. (2), (5):

Ψ(λ)=H(ρ)Ψ0(λ),	(8)

where

H(ρ)=0∞H(ρ)f(ρ)ρ3dρ0∞f(ρ)ρ3dρ,

Ψ0(λ)=ϕ0(λ)+iθ0(λ),ϕ0λ=πcΔnλλ,

θ0λ=πcΔχλλ,Δnλ=nL−nR,Δχλ=χL−χR

and c is the volumetric concentration of  a chiral substance in a turbid  layer.

Eq. (8) is the main result  of this paper. It follows from Eq. (8) that

Ψ0(λ)=H−1(ρ)Ψ(λ).	(9)

Thus, the solution of the inverse problem is greatly simplified. It follows at small values of the phase shift (see Eq.(7)): H(ρ)→1and Ψ(λ)→Ψ0(λ) as it should be in the framework of the Born approximation [8].

Eq. (8) can be used for studies of the dependence of spectra Ψ(λ) on the size of chiral particles. Spectra Ψ0(λ) depend on the substance in question. They can be measured or found from quantum mechanical calculations.

- Conclusion

Turbid bio-liquids and other light scattering chiral media can be characterized by their ORD and CD spectra. It was shown here how to relate ORD and CD spectra of disperse media with intrinsic spectra of particles using simple approximate equations. This could be of importance for monitoring bio-particles during their life cycles.

The case of large soft spherical particles was studied in detail. However, results can be easily generalized on the more important and practically relevant case of nonspherical particles. The diameter of a spherical particle should be changed to the maximal length of an incident beam inside of a nonspherical particle to approximately account for the effects of nonsphericity. The account for inhomogenity and internal structure of particles is also straightforward in the framework of the approximation proposed.

References

[1]	L. Pasteur, Ann. Chemie Phys., vol. 28, p. 56, 1850.

[2]	P. Crabbe, Optical Rotatory Dispersion and Circular Dichroism in Organic Chemistry. Holden-Day, San-Francisco, 1965.

[3]	C. F. Bohren and D. Huffman, Light Scattering and Absorption by Small Particles. Wiley, New York, 1983.

[4]	A. A. Kokhanovsky, Light Scattering Media Optics: Problems and Solutions. Wiley-Praxis, Chichester, 1999.

[5]	D. W. Urry, T. A. Hinners, and L. Masotti, Arch. Biochem. Biophys., no. 137, p. 214, 1970.

[6]	D. J. Gordon, Biochemistry, no. 11, p. 413, 1972.

[7]	Selected Papers on Natural Optical Activity, SPIE Milestone Series, v. MS15, A. Lakhtakia (Ed.). SPIE Optical Engineering Press, Bellingham, 1990.

[8]	C. F. Bohren, J. Theor. Biology, no. 65, p. 755, 1977.